## Slide 1
Reliability & Risk management protocols in PV Power Plants

## Slide 2
Scott Jezwinski Business Development Manager – Global Solar PV
Background
Scott is a Business Development Manager for Solar Photovoltaic Systems at UL. He is responsible for leading UL’s collaboration within the Solar PV Renewable Energy sector globally, including working with key industry stakeholders, industry associations, manufacturers and regulators. He is also involved in the development of PV standards and test methods for PV products and systems.
Scott Jezwinski
Business Development Manager
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 4: Risk Evaluation
Risks are the potential consequences of the outcome of a decision being different from that expected by the decision maker.
Risk cannot be avoided and is present in all aspects of the PV project life cycle.
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.
Notes: Ecosystem

## Slide 5: PV Plant Project
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 6
Planning, Design and Engineering
(~3-12m)
Construction and Commissioning
(~6-30m)
In-Service, Operations and Maintenance
25+ years
PV Projects and possible risks during a PV Project Lifecycle
Financing
EXPERIENCE / SOLVENCY
TECHNICAL / ECONOMIC
Manufacturer, Supplier, Constructor, Operator, etc
PLANNING
Permits, documents, administrative and contractual procedures (land, connection, authorizations, ...).
FEASIBILITY
Measurements and initial design
Initial production estimates
Specific studies (topographic, geotechnical, seismic, transport, etc.)
Typical module layup for mono-facial and bifacial are based on a glass-glass structure with/without frame.
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 7: PV Module -Technology Trends
BOM Item | Detail
Wafer Types | p-type mc, p-type HPmc, p-type mono like, p-type mono, n-type mono
Cell Technology | BSF, PERC/PERL/PERT, Si-heterojunction, back contact cells, Si-based tandem
Bussbar Technology | 3-BB, 4-BB,5-BB,6-BB, BB-less
Cell Interconnection Materials | Cu-ribbon, Cu-wires, structured foils, shingled/overlapping cells
Encapsulation Material | EVA ( Ethylene Vinyl Acetat), PDMS (Polydimethyl Silicone), Silicone, TPU (Thermoplastic Polyurethan), Polyolefin, PVB ( Polyvinyl Butyral)
Backsheet Materials | TPT ( Tedlar-Polyester-Tedlar), APA (Polyamid-PET-Polyamid), KPE (Kynar(PFDF)-PET-EVA), TPA (Tedlar-PET-Polyamid), Polyolefien (PO)
Front cover/back-cover combinations | Glass/Glass, Glass/foil
Cell Dimensions | Full, half-cut, quarter-cut
Frame materials | Aluminum, frameless, plastic
Thickness of frontglass | >3mm, 3mm to 2mm, <2mm
Cell Interconnections | Lead/lead-free soldering, conductive adhesive
Production process tools | Thermal, metallization, texturing, stringing, lamination
International Technology Roadmap for Photovoltaics
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.
Notes: Ecosystem

## Slide 8
Planning, Design and Engineering
(~3-12m)
Construction and Commissioning
(~6-30m)
In-Service, Operations and Maintenance
30+ years
PV Plant Project Development – Techno-economic Analysis
PV Module
Manufacturers
PV plants are revenue generating assets!!
Stakeholders (take on “risk”):
Financiers/Banks
Developers/Sponsors
Owners/Operators
EPC/contractors
Asset Managers
Manufacturers
Insurers
Key Value Metrics (Proforma)
NPV/IRR
LCOE
30 yr PPA or FiT revenues
Payback
Financing
~.5% degradation/yr expected
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.
Notes: Influencers for less proven manufacturers, banks, IEs.
Bankability ( financial, product history, installation,….)
Supply Chain ( BOMs, quality, …)

## Slide 9
Planning, Design and Engineering
(~3-12m)
Construction and Commissioning
(~6-30m)
In-Service, Operations and Maintenance
25+ years
PV Plant Project Development – Techno-Economic Analysis
PV Module
Manufacturers
Every little detail effects the economics of the plant!
Stakeholders
Financiers/Banks
Developers/Sponsors
Owners/Operators
EPC/contractors
Asset Managers
Manufacturers
Insurers
Key Value Metrics (Proforma)
NPV/IRR
LCOE
Technical Advisors
Independent Engineer (LE/OE)
30 yr PPA or FiT revenues
Payback
PV Module degradation greater than expected.
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 10
Planning, Design and Engineering
(~3-12m)
Construction and Commissioning
(~6-30m)
In-Service, Operations and Maintenance
25+ years
On-Site
Evaluation
(post-process QC)
PV Module Test Reports*
*Demonstrate confidence in the PV module technology
Reliable PV Module Operation - Building Confidence
PV Module
Manufacturers
Operational Performance
Factory
Inspections
Statistical
Batch Testing
(in-process QC)
Plant Inspection
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 11
Safety
Quality
Durability
Demonstrate non-hazardous failure conditions
Performs under stress conditions
Performance
Consistency in production
Achieve standard test conditions
Reliability
Lifetime performance as expected
Compliance to Standards
UL/IEC 61730
IS/EC 61730
EN 61730
CSA 61730
Others
UL1703/ORD-1703*
Compliance
to Standards
Factory Inspection according IEC TS 62941.
Compliance to Standards
UL/IEC 61215 series
PAN File
IAM
LID/LeTID
PID
DML
Corrosion
Abrasion/dust
Standards Based **
Temperature Cycle (TC)
Humidity-Freeze (HF)
Damp Heat (DH)
Dynamic Mech Load (DML)
Ultra-Violet (UV)
** per IEC TS 63209
Best Practice
Qualification Test
  Safety
  Performance
  Durability
Factory Inspection
Batch Testing
On-site Evaluation
Plant Inspection *
Operational Performance *
* System level assessment
PV Module Testing Requirements
* sunsetting
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 12: UL PV Module Testing Services
ISO 17025 Compliant
“UL Record of Test”
Cost
Safety
North
America
Access
CB Report
UL stacks value with bundled testing services for Global Market Access and PV plant projects.
Performance
(PID, LID, PAN, IAM, DML ..)
Durability
(extended tests)
1
2
3
Interim Report
Performance
Durability
12
61730 &
61215
Combined Test Plan
Total Without Bundled Services
15% to 20%
more
Access to
Additional
Markets
UL
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.

## Slide 13: Summary
Successful risk management practices continue to be important to ensure investor confidence as new and innovative PV module technologies enter the market.
Technical diligence informed by testing based on standards is recommended when transferring PV plant risk through insurance.
UL and the UL logo are trademarks of UL LLC © 2020. Proprietary & Confidential.
Notes: PG:
Thank you Scott,. We appreciate the information.
Before we go to our questions, I want to give a quick summary of the items we’ve discussed today.
1
2
3
QUESTIONS:
1
2
3

## Slide 14
Thank you for your time!